Optics Formulas Formulas to Remember…

Vergence: U+D=V  where U=object rays, D= lens power, V= image rays

Power (F)= n’-n/r : Use this if you are given index of refraction or radius of curvature and need to find dioptric power

1/do + 1/di= 1/f  : Use this to find the location of an object or an image.  You can also use this to find the focal length of a lens.  This is the “thin lens formula”, which ignores the thickness of the lens.

F=1/f2  : Use this to find the power if you  are given the focal length and vice versa

Linear Magnification: Image size/ Object size = di/do :  You can use this to find out the magnification of an image or object.

Spectacle Magnification: a quick way to think about how much minification or magnification your glasses are causing:  M=2% per diopter of power. Recall that minus lenses will minify and plus lenses magnify.

Simple Magnifier- we have not yet reviewed this but it relates to low vision devices.  M=D/4 where D= diopters.  This is for a standard reference distance of 1/4meter (25cm working distance).  If the distance is nonstandard, just replace ¼ with new distance.

Mag of a telescope- again we have not had this yet BUT….M=  power of eyepiece/ power of objective

Angular Magnification: tan02/tan01 : I doubt you will get anything with this as you do not have a calculator.

Prentice’s Rule for Prism Power:  P=FxD use this to calculate the amount of prism in a pair of spectacles.  P= prism diopters  F=distance from optical center in cm, D= lens power

Approximate Power  Fapprox= F1+F2  : Says that the net power is the sum of the front and back surfaces of a lens

Effective Power Fe=F/(1-dF) : Used for vertex distance

Spherical equivalent: SE= sph + ½ cyl

Refracting power of a spherical surface  D=n’-n/r.   Where D= power, (n’-n) is the difference in refractive index between air and lens, and r is radius of curvature of the surface.  This is how we use K readings to figure out if a cornea is flat or steep, and how we use K readings to arrive at the shape of a contact lens.

Power of a thin lens in fluid: Power in air/Power in fluid= (niol-nair)/(niol-nfluid)

IOL power (SRK formula):  Power IOL = A-2.5L-0.9K where A is a constant, L= axial length in mm, K= average K readings in diopters.

Most things will be CONCEPTUAL! Don’t panic about the math.